GSTIN: 06JKPPK6453K1ZE                                               (M):9992891023 , 9992891723

DHATTERWAL SOLAR ENERGY SYSTEM

WARD NO. 13 DHATTERWAL BHAWAN KALAYAT (KAITHAL)

Ref. No. DS384                 	                                                               Date-29-07-2026

SAFETY CERTIFICATE

To

The SDO

Uttar Haryana Bijli Vitran Nigam,

X53-PUNDRI, HARYANA.

Subject :- Safety Certificate.

Dear sir,

It is inform you that we had installed a solar power plant of total 2.90 KWT On-Grid System of Mr. ANKUSH S/O KASHMIRI LAL, VPO-DEEG, TEHSIL-PUNDRI, DISTT.- KAITHAL-132026. In this system we have installed of 2.90 KWT capacity inverter and 5 modules of 620 WATT  Bifacial  capacity with following details:-

- Make of inverter : GRONSOL INVERTER

- Make of modules : ADANI  SOLAR

- Make of wire : MICROTECH

- Number of Earthing : 3 Nos

- Surge protection Device : 1 set DC Side inbuilt and 1 set at AC Side

We DHATTERWAL SOLAR ENERGY SYSTEM KALAYAT Certify that this system

is installed as per MNRE guide lines and is safe (All the safety,

Measure are being taken care of)

Thanking you,

Regards

DHATTERWAL SOLAR ENERGY SYSTEM

9992891023